## Instructions
Instructions
This spreadsheet template was created with Microsoft Excel 2016; different versions of Excel may require these procedures to be modified. Note: The following procedures use the Data Analysis Add-in for Excel. If you have not installed this Add-in, go to File >> Options >> Add-ins. At the bottom of the menu, select "Add-ins" in the "Manage:" field. Select "Go…". Choose "Analysis ToolPak" and select "OK".
Calculate the adjustment
1. Starting in cell B2 of "Calculate the adjustment," paste your exported data from FAST. You may also paste Sample ID data (Column A) but this is not required. 2. Starting in cell C2 of "Calculate the adjustment," paste data received from your external laboratory. Make sure that the FAST data and the lab data for each row correspond to the same sample. 3. The spreadsheet will automatically evaluate the quality of your dataset in Columns B and C, based on six criteria. This is done to ensure that the dataset contains enough information for a reliable adjustment factor to be determined. The colored bubble next to each criterion indicates whether the criterion has been met (Green=YES, RED=NO, Yellow=borderline). If all criteria are marked with a green or yellow bubble, proceed to Step 4; if the results of any data check are marked with a red bubble, it is recommended to modify your dataset before proceeding to Step 4. Some fields have two bubbles to more specifically indicate how the data can be improved. See the instructions below on how to improve your dataset. 4. In the "Data" menu, select "Data Analysis," choose "Regression," and click "OK." 5. In the Regression menu, complete the following: - Check the box next to "Constant is Zero" - In the "Output Range" field, indicate cell K1 - In the "Input Y Range" field, indicate your external lab data, starting with cell C2 - In the "Input X Range" field, indicate your FAST data, starting with cell B2 6. Click "OK." There will now be a numeric value in the green box; this value will be used to adjust future data.
Adjust your new data
1. Starting in cell B2 of "Adjust your new data," paste your NEW exported data (that is, data that was not used in the "Calculate the adjustment" steps above) from FAST. It is recommended that you also paste Sample ID data in Column A 2. Adjusted values for your new data will be shown in Column C
Criteria for dataset to calculate the adjustment
The following are the minimum criteria for the dataset: - A minimum of 10 samples must be entered - The minimum value must be at least 15, and no more than 50 µg crystalline silica - The maximum value must be no more than 350, and at least 250 µg crystalline silica - Sample loadings should be spread as evenly as possible over the range of 15-350 µg crystalline silica
When and how to modify your dataset
| Target | 0
n | >10 | Dataset has too few samples - add data for additional samples
Min value | 20-30 | Left: minimum value is too low - remove the lowest loading(s)
Right: minimum value is too high - add data for additional sample(s) at lower sample loading(s)
Max value | 275-325 | Left: maximum value is too low - add data for additional sample(s) at higher sample loading(s)
Right: maximum value is too high - remove the highest loading(s)
Median | 162 | Left: median value is too low - add data for additional sample(s) at higher sample loading(s)
Right: median value is too high - add data for additional sample(s) at lower sample loading(s)
Q1 | 94 | Left: Q1 value is too low - add data for additional sample(s) at higher sample loading(s)
Right: Q1 value is too high - add data for additional sample(s) at lower sample loading(s)
Q3 | 231 | Left: Q3 value is too low - add data for additional sample(s) at higher sample loading(s)
Right: Q3 value is too high - add data for additional sample(s) at lower sample loading(s)
How to calculate a new adjustment by adding data to your dataset
Note: it is very important not to add or delete rows or columns from either the calculate the adjustment or the adjust your new data tab. The formulae used in this workbook refers to specific cells, and may become damaged if cells are added or subtracted. To remove data, highlight a specific cell and use either the backspace or delete key on the keyboard. 1. Highlight the area in cells K1:S18, and use the delete key to remove the data. 2a. To REPLACE your previous adjustment dataset with an entirely new dataset, highlight all of the old data in Columns A-C and use the delete key to remove the data. 2b. To ADD new data to your existing adjustment dataset, add the new data after the last entry in Columns A-C. 3. Return to "Calculate the adjustment" above and complete Steps 1-6. The value in the green box will NOT automatically update unless you complete these steps.

## Calculate the adjustment
Sample ID | FAST Data (µg crystalline silica) | External Lab Data (µg crystalline silica) | Data Quality Evaluation Results |  |  |  | "Output Range" K:1 →
| 25 | 24.5 | n | 10 | 10
| 50 | 49 | Min value | 25 | 25 | 25
| 75 | 73.5 | Max value | 250 | 250 | 250
| 100 | 98 | Median | 137.5 | 137.5 | 137.5
| 125 | 122.5 | Q1 | 81.25 | 81.25 | 81.25
| 150 | 147 | Q3 | 193.75 | 193.75 | 193.75
| 175 | 171.5
| 200 | 196
| 225 | 220.5 | 0
| 250 | 245 | USE THIS VALUE IN FAST

## Adjust your new data
CAUTION: Do NOT use this sheet to adjust the dataset that you used in the "Calculate the adjustment" tab. It is not valid to adjust the same data that was used to create the adjustment
If the colored bubble below is RED, do not proceed. A red bubble indicates that there is not strong correlation between the FAST data and the external lab data used to calculate the adjustment. Using this data to adjust new data may not improve the accuracy of the estimation
0
Sample ID | New Data (µg crystalline silica) | New Data - Adjusted (µg crystalline silica)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0